Riverview Water Association

PO Box 645 – Bethel Island, CA 94511

925-684-2129

www.riverviewwater.com

Drought Contingency Plan January 1, 2025

- System Source Reliability:  Groundwater

  - Depth to well water, Bethel/End of Willow= pumping: 23’ 3”

  - Depth to well water, Bethel/End of Willow=non-pumping: 9’

  - Unable to get water level readings on Piper Point/Beacon well due to repair sleeve restricting size of pipe.

  - Monitor levels:  annually

  - Totalizing flow meter: read and record monthly

  - Monitor water quality at recommended intervals

  - Two wells; each can run system if one fails

  - Drill new well at deeper level?

- Leak Detection Program:

  - Repair any obvious leaks in storage tanks and distribution system

  - Notify any members with obvious leaks on their property

- Past Water Use Data;

  - Highest use is on summer weekends

  - Advise members to conserve in high use and drought times

- Water Conservation Measures:

  - Information on our website

  - Advise members of need to conserve water via email or mail

  - Minimize outside watering and non-essential use

  - Install meters for members and charge by water use?

- Neighboring Water Systems:  with excess production capacity?

  - Pleasantimes Water: distance of Russo’s Marina away from RWA.

  - The Willows: they have applied for Diablo Water-in process. Would require a pipe under the roadway.

  - Bethel Harbor: private and probably don’t have the capacity

  - Russo’s Marina:  private

  - Identify operational issues: would need agreement and run pipe to hookup

  - Establish agreements before an emergency arises:

- Demand:  Total of 91 lots

  - Single family residences full time –(20 lots)

  - Single family weekend use (54 lots)

  - Marinas – Piper Point (17 lots) restaurant/bar-Rusty Porthole, trailer park-9 spaces, one duplex, 2 homes, office, bathrooms & showers for customers.